District of Columbia Municipal Regulations


912  

STREETSCAPE STANDARDS (WR)

912.1                In all WR zones, all buildings are subject to the following design requirements:

(a) Façades that front on public or private streets or plazas shall not have blank walls uninterrupted for more than ten feet (10 ft.) by doors, windows, or architectural features that modulate and articulate the building wall planes. Projections permitted into the public right-of-way by other regulations shall satisfy this requirement; and

(b) Security grilles shall have no less than seventy percent (70%) transparency.

SOURCE: Final Rulemaking published at 63 DCR 2447, 3176 (March 4, 2016 – Part 2); as amended by Final Rulemaking published at 67 DCR 11679 (October 9, 2020).
	
	Zoning Regulations of  2016: 
Special Purpose Zones
11-K DCMR § 912

	

	
	
	



