District of Columbia Municipal Regulations


704

FOOD WASTE DISPOSAL
704.1
[REPEALED]
704.2
[REPEALED]
704.3
Each food establishment served by a sanitary sewer and conducting activities any of which generate food wastes (garbage) shall have and use one or more food waste (garbage) grinders which are conveniently located to each such activity and which are adequate in capacity to dispose of all readily grindable food wastes (garbage) produced.

704.4
Each kitchen sink that is newly installed in any dwelling unit, or which is replaced or substantially repaired such that a plumbing permit is required, shall be provided with a food waste (garbage) grinder by the owner or licensee.

704.5
Food waste (garbage) grinders shall be maintained in good repair and operating condition by the owner or licensee.

SOURCE: Regulation No. 71-21, approved June 29, 1971, 18 DCR 16 (July 12, 1971), 8 DCRR §§8-3:603(h) and 8-3:607(e); as amended by Regulation 73-26, approved December 14, 1973, 20 DCR 545 (January 21, 1974); and by §2(a) of the Solid Waste Control Amendments Act of 1977, D.C. Law 2-69, §8-3:604(h), 24 DCR 6800, 6802 (February 17, 1978); as amended by Zero Waste Omnibus Amendment Act of 2020, effective March 16, 2021 (D.C. Law 23-211; 68 DCR 000068 (January 1, 2021)).
	
	Water and Sanitation
21 DCMR § 704

	

	
	
	



