District of Columbia Municipal Regulations


307
OPEN BURNING, RECREATIONAL FIRES AND PORTABLE OUTDOOR FIREPLACES

Strike Section 307.4.3 of the International Fire Code and insert a new Section 307.4.3 into the Fire Code in its place to read as follows:

307.4.3 Portable Outdoor Fire Places. Portable outdoor fire places and fire pits shall be used in accordance with the manufacturer’s instructions and shall not be operated within 15 feet of a structure or combustible materials.

SOURCE: Final Rulemaking published at 67 DCR 6232 (May 29, 2020 – Part 2).

The District of Columbia Fire Code (2017), referred to as the “Fire Code,” consists of the 2015 edition of the International Fire Code (International Fire Code), published by the International Code Council (ICC), as amended by the Fire Code Supplement of 2017 (12-H DCMR). The International Fire Code is copyrighted by the ICC and therefore is not republished here. However, a copy of the text may be reviewed at:

https://codes.iccsafe.org/public/document/IFC2015.
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