District of Columbia Municipal Regulations


503
ADDITIONAL STANDARDS AND SUPPLIES – ELECTROLOGY
503.1 
In addition to the requirements in § 500, each electrology facility shall have the following equipment:

(a)
An FDA registered needle-type and tweezer type epilator devices in working order; 
(b)
Clean and sterile, probes, forceps, tweezers and single-use needles;

(c)
Needle holder tips;

(d)
Professional treatment table or treatment chair with a non-porous surface capable of being disinfected;

(e)
Non-disposable linens that are laundered, sanitized, and stored in closed containers or compartments, and covered sanitary containers for holding used non-disposable linens, where applicable;

(f)
Disposable paper exam drapes stored in a closed container or compartment;

(g)
Container for soiled disposable items shall be lined with a plastic bag and removed daily;

(h)
Clean, non-sterile materials such as cotton balls, cotton strips, cotton swabs, gauze pads, and gauze strips;

(i)
A treatment lamp capable of being cleaned and disinfectant, and maintained in good working condition;

(j)
A magnifying lamp, optical loupe or microscope capable of being cleaned and disinfected, and maintained in good working condition;

(k)
Tuberculocidal hospital grade disinfectant registered by the Environmental Protection Agency, household bleach or wiping cloths pre-saturated with disinfectant for wiping non-porous surfaces;

(l)
If eye shields are used, eye shields capable of being cleaned with an EPA-registered disinfectant;

(m)
Covered containers for probes, forceps, tweezers, and needles, which containers are capable of being cleaned and sterilized;

(n)
An FDA-listed sterilizer (the endodontic dry heat “glass bead sterilizer” shall not be used for instrument sterilization);
(o)
Records of sterilizer biological test monitoring that are available to the Department for inspection upon request, as specified in § 206;

(p)
A holding container for soaking and cleaning contaminated instruments; 

(q)
Non-sterile disposable examination gloves;

(r) 
Private treatment rooms that are forty-five square feet (45 sq. ft.) of floor space as specified in § 302.2(b); 

(s) 
One (1) sink with hot and cold running water in each treatment room;

(t)
Adequate lighting, as specified in § 401;

(u) 
Adequate heating and ventilation, as specified in § 308;

(v) 
Maintained in sanitary condition;

(w) 
Clean lab coat or uniform; and

(x)
Covered trash container in each treatment room.

SOURCE: Final Rulemaking published at 68 DCR 013026 (December 10, 2021).
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