District of Columbia Municipal Regulations


N107 
FIRE EXTINGUISHERS

N107.1 General. Multi-purpose fire extinguishers of a type approved for use in residences must be maintained in good working condition and installed in the kitchen and outside the furnace room of the dwelling. The caregivers must know how to use the fire extinguishers installed in a home day care. Fire extinguishers with gauges must show a full charge. Fire extinguishers with seals must have unbroken seals.

SOURCE: Final Rulemaking published at 67 DCR 6232 (May 29, 2020 – Part 2).

The District of Columbia Fire Code (2017), referred to as the “Fire Code,” consists of the 2015 edition of the International Fire Code (International Fire Code), published by the International Code Council (ICC), as amended by the Fire Code Supplement of 2017 (12-H DCMR). The International Fire Code is copyrighted by the ICC and therefore is not republished here. However, a copy of the text may be reviewed at:

https://codes.iccsafe.org/public/document/IFC2015.
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