District of Columbia Municipal Regulations


5505
APPLICABILITY TO EMERGENCY GENERATOR UST SYSTEMS

5505.1
Any UST system that stores fuel for use by an emergency power generator shall comply with all requirements of the UST Regulations.

SOURCE: Final Rulemaking published at 46 DCR 7699 (October 1, 1999); as amended by Final Rulemaking published at 56 DCR 6678 (August 21, 2009); as amended by Final Rulemaking published at 67 DCR 1778 (February 21, 2020).
	
	Environment
20 DCMR § 5505

	

	
	
	



