District of Columbia Municipal Regulations


2111 

MaSONrY FIrEplaCES
2111.5 Seismic anchorage

Strike the Exception to Section 2111.5 in the International Building Code and insert a new Exception into Section 2111.5 in the Building Code in its place to read as follows:

Exception: Seismic anchorage is not required for the following:

1. In structures assigned to Seismic Design Category A.

Where the masonry fireplace is constructed completely integral to the exterior masonry walls.
SOURCE: Final Rulemaking published at 67 DCR 5690 (May 29, 2020 – Part 2).
The District of Columbia Building Code (2017), referred to as the “Building Code,” consists of the 2015 edition of the International Building Code (International Building Code), published by the International Code Council (ICC), as amended by the Building Code Supplement of 2017 (12-A DCMR). The International Building Code is copyrighted by the ICC and therefore is not republished here. However, a copy of the text may be obtained at: https://codes.iccsafe.org/public/document/IBC2015.
	
	Building Code Supplement of 2017
12-A DCMR § 2111

	

	
	
	



