District of Columbia Municipal Regulations


4006

LEVEL 3 INTERCONNECTION REVIEWS

4006.1
The EDC shall use Level 2 Interconnection Review procedures for evaluating Level  3 Interconnection Requests provided the proposed Small Generator Facility has a Nameplate Capacity rating not greater than 20MW and uses reverse power relays, minimum import relays, or other protective devices to assure that power may never be exported from the Small Generator Facility to the EDC’s electrical distribution system.  An Interconnection Customer proposing to interconnect a Small Generator Facility to a spot or Area Network is not permitted under the Level 3 review process.

SOURCE: Final Rulemaking published at 56 DCR 1415 (February 13, 2009); as amended by Final Rulemaking published at 66 DCR 01132 (January 25, 2019); as amended by Final Rulemaking published at 68 DCR 8244 (August 20, 2021).
	
	Public Utilities and Cable Television
15 DCMR § 4006

	

	
	
	



