District of Columbia Municipal Regulations


3002 

HOISTWAY ENCLOSURES

Strike Section 3002.9 of the International Building Code in its entirety and insert new Section 3002.9 to the Building Code in its place to read as follows:

3002.9 Plumbing and mechanical systems. Plumbing and mechanical systems shall not be located in an elevator hoistway enclosure.

Exception: 

1. Floor drains, sumps and sump pumps shall be permitted at the base of the hoistway enclosure provided they are indirectly connected to the plumbing system.

2. Machinery and equipment serving the elevator shall be permitted in an elevator hoistway enclosure in conformance with ASME A17.1/CSA B44 Section 2.8.

SOURCE: Final Rulemaking published at 67 DCR 5690 (May 29, 2020 – Part 2).
The District of Columbia Building Code (2017), referred to as the “Building Code,” consists of the 2015 edition of the International Building Code (International Building Code), published by the International Code Council (ICC), as amended by the Building Code Supplement of 2017 (12-A DCMR). The International Building Code is copyrighted by the ICC and therefore is not republished here. However, a copy of the text may be obtained at: https://codes.iccsafe.org/public/document/IBC2015.
	
	Building Code Supplement of 2017
12-A DCMR § 3002

	

	
	
	



