District of Columbia Municipal Regulations


4263
STANDARDS APPLICABLE TO GENERATORS OF HAZARDOUS WASTE
4263.1
The provisions of 40 CFR Part 263 are subject to the specific modifications in this section.

4263.2
The provisions of 40 CFR § 263.12 are modified such that transfer facilities shall be considered storage facilities and subject to full regulation under chapters 42 and 43 of this title.

4263.3
A transporter shall not park a vacuum truck, pump truck, or tanker containing hazardous waste at a transfer facility or at any other location in the District of Columbia for more than twenty-four (24) hours.

4263.4
If a vacuum truck, pump truck, or tanker containing hazardous waste is to remain in the District for more than twenty-four (24) hours, the transporter shall transfer the contents to containers meeting the requirements of 40 CFR Part 264, Subpart I.

SOURCE: Final Rulemaking published at 52 DCR 9653 (October 28, 2005); as amended by Final Rulemaking published at 70 DCR 000703 (January 20, 2023).
	
	Environment
20 DCMR § 4263

	

	
	
	



