District of Columbia Municipal Regulations


4008
SECURITY CAMERA AND GLASS BREAK SENSOR SPECIFICATIONS

4008.1
To be eligible for a rebate or voucher under this chapter:

(a) A security camera system shall meet minimum technical and video quality specifications published on the Office’s website, and must retain video footage for at least forty-eight (48) hours;

(b) A security camera system installed on the exterior of a building shall be weatherproof; and

(c) A glass break sensor system shall meet minimum technical specifications

published on the Office’s website.
SOURCE: Final Rulemaking published at 72 DCR 014058 (December 19, 2025).
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