District of Columbia Municipal Regulations


5100            GENERAL PROVISIONS

5100.1             The following development standards shall apply to buildings on Alley Record Lots in the R zones:  
TABLE D § 5100.1: ALLEY LOT DEVELOPMENT STANDARDS (R)

	(a) Maximum Height
	20 ft. and 2 stories, including the penthouse

	(b) Maximum Lot Occupancy 
	

	Less than 1,800 sq. ft. of lot area
	N/A

	Between 1,800 and 2,000 sq. ft. of lot area
	90%

	Over 2,000 sq. ft. of lot area
	80%

	(c) Minimum Rear Yard
	5 ft. from any lot line of all abutting non-Alley Lots

	(d) Minimum Side Yard
	5 ft. from any lot line of all abutting non-Alley Lots

	(e) Minimum Alley Centerline Setback
	7.5 ft. from the centerline of all abutting alleys 

	(f) Minimum Pervious Surface
	10%


5100.2 
Uses on Alley Lots shall be as permitted in Subtitle U, Chapter 6.
SOURCE: Final Rulemaking published at 63 DCR 2447, 2834 (March 4, 2016 – Part 2); as amended by Final Rulemaking published at 67 DCR 12690 (October 30, 2020).
	
	Zoning Regulations of 2016: 
Residential House (R) Zones
11-D DCMR § 5100

	

	
	
	



