District of Columbia Municipal Regulations


5004

REAR YARD
5004.1
An accessory building other than a shed may be located within a rear yard in an R zone provided that the accessory building is:

(a)
Set back at least seven and one-half feet (7.5 ft.) from the centerline of any alley; and
(b)
Not occupying, in combination with all accessory buildings on a lot, more than thirty percent (thirty percent (30%)) of the area of a required rear yard.
5004.2
A shed may be located within a required rear yard of a principal building.

SOURCE: Final Rulemaking published at 63 DCR 2447, 2834 (March 4, 2016 – Part 2); as amended by Final Rulemaking published at 68 DCR 2908 (March 19, 2021); as amended by Final Rulemaking published at 72 DCR 009494 (September 5, 2025).
	
	Zoning Regulations of  2016: 
Residential House (R) Zones
11-D DCMR § 5004

	

	
	
	



