District of Columbia Municipal Regulations


614
 OUTDOOR FOUNTAINS
614.1 General.   Outdoor fountains shall comply with Section 614.2.

614.2 Outdoor fountains.  Outdoor fountains shall be designed and installed to minimize as much as practicable the use of potable water.  Nonpotable water shall not be used for outdoor contact water features.
SOURCE: Final Rulemaking published at 67 DCR 6148 (May 29, 2020 – Part 2).
The District of Columbia Plumbing Code (2017), referred to as the “Plumbing Code,” consists of the 2015 edition of the International Plumbing Code (International Plumbing Code), published by the International Code Council (ICC), as amended by the Plumbing Code Supplement of 2017 (12-F DCMR). The International Plumbing Code is copyrighted by the ICC and therefore is not republished here. However, a copy of the text may be obtained at: https://codes.iccsafe.org/public/document/IPC2015.
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