District of Columbia Municipal Regulations


403  
HEIGHT (HE)

403.1 The maximum permitted building height and number of stories, not including the penthouse or rooftop structure, in HE shall be given in the following table:

TABLE K § 403.1:  MAXIMUM PERMITTED HEIGHT AND STORIES
	HE Sub-District
	Building Height

Minimum             Maximum
	No. of Stories

	HE-1 (19th St.)
	26 ft.
	50 ft.
	4

	HE-2 (20th St.)
	40 ft.
	80 ft.
	7

	HE-3 (Water St.)
	80 ft.
	110 ft.
	10

	HE-4 (Corrections)
	-
	90 ft.
	8

	Square  E (Park)
	-
	26 ft.
	-


403.2 Building height shall be measured from the lowest curb level along a street frontage abutting the lot.  

403.3 A hospital located in the HE-2 zone may exceed eighty feet (80 ft.) in height, to a maximum of one hundred ten feet (110 ft.), if approved as a special exception by the Zoning Commission pursuant to Subtitle K § 416.

403.4 Penthouses and rooftop structures shall be subject to the regulations of Subtitle C, Chapter 15, and the height and story limitations specified in Subtitle K § 403.5.
403.5 The maximum permitted height of a penthouse or rooftop structure, except as limited in Subtitle C § 1501 on the roof of a detached dwelling, semi-detached dwelling, rowhouse, or flat shall be as set forth in the following table:

TABLE K § 403.5: MAXIMUM PERMITTED PENTHOUSE OR ROOFTOP STRUCTURE HEIGHT AND STORIES
	Zone
	Maximum Height (ft.)
	Maximum Stories

	HE-1
	12 ft. except 

15 ft. for penthouse mechanical space
	1; second story permitted for penthouse mechanical space

	HE-2
	20 ft.
	1; second story permitted for penthouse mechanical space

	HE-3, HE-4
	20 ft.
	1 plus mezzanine; second story permitted for penthouse mechanical space


403.6 The matter-of-right height shall serve as the maximum permitted height, penthouse and rooftop structure height, and floor area ratio for a PUD.
SOURCE: Final Rulemaking published at 63 DCR 2447, 3176 (March 4, 2016 – Part 2); as amended by Final Rulemaking published at 68 DCR 013834 (December 24, 2021).
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