District of Columbia Municipal Regulations


6506

TESTING FOR RESIDUAL SOLVENTS
6506.1
Cultivation centers and manufacturers shall test all products for residual solvents and processing chemicals in accordance with this section before distributing, selling, or otherwise transferring the product to an internet retailer, manufacturer, or retailer.

6506.2
The testing laboratory shall analyze at minimum 0.25 grams of the representative sample of cannabis product or pre-rolls to determine whether residual solvents or processing chemicals are present.

6506.3
The testing laboratory shall report the result of the residual solvents and processing chemicals testing in unit micrograms per gram (μg/g) in the testing results and indicate “pass” or “fail” in the result report.

6506.4
The sample shall be deemed to have passed the residual solvents and processing chemicals testing if the presence of any residual solvent or processing chemical listed in the following tables in Category I and Category II does not exceed the indicated critical limit, except that:

(1) The critical limit for ethanol does not apply to cannabis products that are tinctures; and

(2) The critical limit for ethanol or isopropyl alcohol does not apply to cannabis products that are topical cannabis products.

	Category I Residual Solvent or Processing Chemical

 


	CAS No.

 


	Cannabis Product or Pre-Roll Critical Limit (μg/g)

 




	1,2-Dichloroethane

 


	107-06-2

 


	1.0

 



	Benzene

 


	71-43-2

 


	1.0

 



	Chloroform

 


	67-66-3

 


	1.0

 



	Ethylene oxide

 


	75-21-8

 


	1.0

 



	Methylene chloride

 


	75-09-2

 


	1.0

 



	Trichloroethylene

 


	79-01-6

 


	1.0

 




	Category II Residual Solvent or Processing Chemical

 


	CAS No.

 


	Cannabis Product or Pre-roll Action Level (μg/g)

 




	Acetone

 


	67-64-1

 


	5000

 



	Acetonitrile

 


	75-05-8

 


	410

 



	Butane

 


	106-97-8

 


	5000

 



	Ethanol

 


	64-17-5

 


	5000

 



	Ethyl acetate

 


	141-78-6

 


	5000

 



	Ethyl ether

 


	60-29-7

 


	5000

 



	Heptane

 


	142-82-5

 


	5000

 



	Hexane

 


	110-54-3

 


	290

 



	Isopropyl alcohol

 


	67-63-0

 


	5000

 



	Methanol

 


	67-56-1

 


	3000

 



	Pentane

 


	109-66-0

 


	5000

 



	Propane

 


	74-98-6

 


	5000

 



	Toluene

 


	108-88-3

 


	890

 



	Total xylenes (ortho-, meta-, para-)

 


	1330-20-7

 


	2170

 




6506.5
If the sample fails residual solvents and processing chemicals testing, the batch from which the sample was collected fails residual solvents and processing chemicals testing and shall be deemed adulterated.

SOURCE: Final Rulemaking published at 73 DCR 002136 (February 20, 2026).
	
	Medical Cannabis
22-C DCMR § 6506

	

	
	
	



