District of Columbia Municipal Regulations


3506

BATHROOMS
3506.1
One (1) bathroom consisting of a working toilet, lavatory (sink for hand washing) and bathing facility that is appropriate for the needs of the persons residing in the CRFPID shall be provided for the use of no more than three (3) persons.
3506.2
Each bathroom shall have appliances, fixtures or devices which shall be appropriate to the needs of each person who lives and works in the CRFPID, and which shall allow persons in the CRFPID to achieve maximum independence.  Appliances, fixtures and devices shall be in good repair.

3506.3
Each shared bathroom shall be equipped with adequate light, toilet tissue, paper towels, liquid soap for hand washing, and a mirror, as appropriate to the persons’ abilities.

3506.4
A person shall not go through another person’s bedroom in order to enter a bathroom.  A person shall not go through one bathroom in order to have access to a second bathroom.

3506.5
Bathrooms shall provide adequate privacy.  Each tub or shower shall have privacy partitions or curtains.  A bathroom shall not have more than one toilet.

SOURCE: Final Rulemaking published at 39 DCR 3280, 3288 (May 8, 1992); as amended by Final Rulemaking published at 68 DCR 4282 (April 23, 2021).
	
	Public Health and Medicine
22-B DCMR § 3506

	

	
	
	



