District of Columbia Municipal Regulations


1104
STANDARDS
1104.1
The surface waters of the District shall be free from substances in amounts or combinations that do any one of the following:

(a)
Settle to form objectionable deposits;

(b)
Float as debris, scum, oil, or other matter to create a nuisance;

(c)
Produce objectionable odor, color, taste, or turbidity;

(d)
Cause injury to, are toxic to, or produce adverse physiological or behavioral changes in humans, plants, or animals;

(e)
Produce undesirable or nuisance aquatic life or result in the dominance of nuisance species; or

(f)
Impair the biological community that naturally occurs in the waters or depends upon the waters for its survival and propagation.

1104.2
For the waters of the District with multiple designated uses, the most stringent standards or criteria shall govern.

1104.3
Class A waters shall be free of discharges of untreated sewage, litter and unmarked submerged or partially submerged man‑made structures that would constitute a hazard to the users of Class A waters.  

1104.4
The aesthetic qualities of Class B waters shall be maintained. Construction, placement or mooring of facilities not primarily and directly water oriented is prohibited in, on, or over Class B waters unless:

(a)
The facility is for the general public benefit and service, and 

(b)
Land based alternatives are not available.

1104.5 
Class C streams shall be maintained to support aquatic life and shall not be placed in pipes.

1104.6
Within tidally influenced Class C waters, concentrations of chlorophyll a in free-floating microscopic aquatic plants (algae) shall not exceed levels that result in ecologically undesirable consequences such as reduced water clarity, low dissolved oxygen, food supply imbalances, proliferation of species deemed potentially harmful to aquatic life or humans or aesthetically objectionable conditions or otherwise render tidal waters unsuitable for designated uses.

1104.7
Class E waters shall be free of unmarked submerged or partially submerged man‑made objects that pose a hazard to users of these waters.
1104.8
Unless otherwise stated, the numeric criteria that shall be met to attain and maintain designated uses are as follows in Tables 1 through 3: 

Table 1: Conventional Constituents Numeric Criteria

	Constituent
	Class A 
	Class B
	Class C

	Chlorophyll aa,b (μg/L)(seasonal segment average)

	
	July 1 through September 30
	—
	—
	25

	Dissolved Oxygen (mg/L)

	Instantaneous minimum (year-round)c
	—
	—
	5.0

	
	February 1 through May 31a,b

	
	
	7-day mean
	—
	—
	6.0

	
	
	Instantaneous minimum
	—
	—
	5.0

	
	June 1 through January 31a,b


	
	
	30-day mean
	—
	—
	5.5

	
	
	7-day mean
	—
	—
	4.0

	
	
	Instantaneous minimumd
	—
	—
	3.2

	E. colie (MPN/100 mL)

	
	Single Sample Value 
	410
	—
	—

	
	Geometric mean (Geometric mean of 5 samples over a maximum period of 30 days)
	126
	—
	—

	Hydrogen sulfide (maximum μg/L)
	—
	—
	2.0

	Oil and grease (mg/L)
	—
	—
	10.0

	pH

	
	Greater than
	6.0
	6.0
	6.0

	
	And less than
	8.5
	8.5
	8.5

	Secchi deptha,b (m)(seasonal segment average)

	
	April 1 through October 31
	—
	—
	0.8

	Temperature (°C)

	
	Maximum
	—
	—
	32.2

	
	Maximum change above ambient
	—
	—
	2.8

	Total dissolved gases (maximum % saturation)
	—
	—
	110

	Turbidity Increase above Ambient (NTU)f
	20
	20
	20


Notes:
a Attainment of the dissolved oxygen, water clarity and chlorophyll a water quality criteria that apply to tidally influenced Class C waters will be determined following the guidelines documented in the 2003 Environmental Protection Agency publication: Ambient Water Quality Criteria for Dissolved Oxygen, Water Clarity and Chlorophyll a for the Chesapeake Bay and its Tidal Tributaries, EPA 903-R-03-002 (April 2003, Region III Chesapeake Bay Program Office, Annapolis, Maryland); 2004 Addendum, EPA 903-R-04-005 (October 2004); 2007 Addendum, EPA 903-R-07-003 CBP/TRS 285/07 (July 2007); 2007 Chlorophyll Criterion Addendum, EPA 903-R-07-005 CBP/TRS 288-07 (November 2007); 2008 Addendum, EPA 903-R-08-001 CBP/TRS 290-08 (September 2008); and 2010 Criterion Addendum, EPA 903-R-10-002 CBP/TRS-301-10 (May 2010).
b This criterion shall apply to only tidally influenced waters. 
c This criterion shall apply to only non-tidal waters.

d An instantaneous minimum dissolved oxygen concentration of 4.3 mg/L shall apply in tidally influenced waters at temperatures greater than 29oC.

e The geometric mean criterion shall be used for assessing water quality trends and for permitting.  The single sample value criterion shall be used for assessing water quality trends only. 

f The ambient turbidity equivalent for Piedmont river mainstems and tributaries (Potomac River northwest of the Theodore Roosevelt Bridge and its tributaries, and Rock Creek) is 1 NTU. The ambient equivalent for Coastal Plain river mainstems and tributaries (Potomac River east of the Theodore Roosevelt Bridge and Anacostia River and its tributaries) is 6 NTU. 
Table 2: Trace Metals and Inorganics Numeric Criteria

	Constituenta
Trace metals and inorganics in μg/L, except where stated otherwise (see Notes below)
	CAS Number
	Class C
	Class Db

	
	
	CMC

1-Hour Avg

(Acute)
	CCC

4-Day Avg

(Chronic)
	30-Day Avg

	Ammonia, total ammonia nitrogen (in mg N/L)
	7664417
	See Footnote g
	See Footnote h
	—

	Antimony, total recoverable
	7440360
	—
	—
	640

	Arsenic, dissolved
	7440382
	340
	150
	0.14c

	Cadmium, dissolved
	7440439
	See Footnotes d and e
	See Footnotes d and e
	—

	Chlorine, total residual
	7782505
	19
	11
	—

	Chromium, hexavalent, dissolved
	18540299
	16e
	11e
	—

	Chromium, trivalent, dissolved
	16065831
	See Footnotes d and e
	See Footnotes d and e
	—

	Copper, dissolved
	7440508
	See Footnotes d and e
	See Footnotes d and e
	—

	Cyanide, free
	57125
	22
	5.2
	400

	Iron, dissolved
	7439896
	—
	1,000
	—

	Lead, dissolved
	7439921
	See Footnotes d and e
	See Footnotes d and e
	—

	Manganese
	7439965
	—
	—
	100

	Mercury, dissolved
	7439976
	1.4e
	0.77e
	0.15

	Methylmercury (mg/kg, fish tissue residue)
	22967926
	—
	—
	0.3

	Nickel, dissolved
	7440020
	See Footnotes d and e
	See Footnotes d and e
	4,600

	Selenium, total recoverable
	7782492
	20
	5
	4,200

	Silver, dissolved
	7440224
	See Footnotes d and e
	—
	65,000

	Thallium, dissolved
	7440280
	—
	—
	0.47

	Zinc, dissolved
	7440666
	See Footnotes d and e
	See Footnotes d and e
	26,000


Notes:
a If there are no numeric criteria listed for a constituent, the criteria to attain and maintain designated uses shall be the narrative criteria for toxics contained in these water quality standards.

b The Class D human health criteria for metals are based on total recoverable metals.
c The criteria is based on carcinogenicity of 10−6 risk level.

d The formulas for calculating the criterion for the hardness dependent constituents indicated above are as follows:

Table 2a: Formulas for Hardness-Dependent Constituentse

	Constituent
	CMC (Acute)
	CCC (Chronic)

	Cadmium
	e(0.9789[ln(hardness)] − 3.866)
	e(0.7977[ln(hardness)] − 3.909)

	Chromium III
	e(0.8190[ln(hardness)] + 3.7256)
	e(0.8190[ln(hardness)] + 0.6848)

	Copper
	e(0.9422[ln(hardness)] − 1.700)
	e(0.8545[ln(hardness)] − 1.702)

	Lead
	e(1.2730[ln(hardness)] − 1.460)
	e(1.2730[ln(hardness)] − 4.705)

	Nickel
	e(0.8460[ln(hardness)] + 2.255)
	e(0.8460[ln(hardness)] + 0.0584)

	Silver
	e(1.7200[ln(hardness)] − 6.590)
	—

	Zinc
	e(0.8473[ln(hardness)] + 0.884)
	e(0.8473[ln(hardness)] + 0.884)


e The criterion is multiplied by the EPA conversion factor which converts the total recoverable metal to dissolved metal in Table 2b as specified in §1105.10:

Table 2b: Conversion Factors from Total Recoverable to Dissolved Metalsf

	Constituent
	CMC (Acute)
	CCC (Chronic)

	Cadmium
	1.136672 − [(ln hardness)(0.041838)]
	1.101672 − [(ln hardness)(0.041838)]

	Chromium III
	0.316
	0.860

	Chromium VI
	0.982
	0.962

	Copper
	0.960
	0.960

	Lead
	1.46203 − [(ln hardness)(0.145712)]
	1.46203 − [(ln hardness)(0.145712)]

	Mercury
	0.85
	0.85

	Nickel
	0.998
	0.997

	Silver
	0.85
	—

	Zinc
	0.978
	0.986


f Hardness in Tables 2a and 2b shall be measured as mg/L of calcium carbonate (CaCO3). The allowed hardness value range shall be 25 – 400 mg/L as CaCO3, even if the actual ambient water hardness is outside of that range. 
g Criterion Maximum Concentration (CMC) for total ammonia nitrogen (in mg N/L): 

(a) Shall be the one (1)-hour average concentration for total ammonia nitrogen, computed for a design flow specified in §1105.5.

(b)
Shall account for the influence of the pH as shown in Table 2c.  
(c)
Is calculated using the following formula, which shall be used to calculate unlisted values: CMC = [(0.411/(1+107.204-pH)] + [58.4/(1+ 10pH-7.204)].
Table 2c: Total Ammonia Nitrogen (in mg N/L) CMC for Various pH

	pH
	CMC
	pH
	CMC
	pH
	CMC
	pH
	CMC

	6.50
	48.8
	7.20
	29.5
	7.90
	10.1
	8.60
	2.65

	6.60
	46.8
	7.30
	26.2
	8.00
	8.40
	8.70
	2.20

	6.70
	44.6
	7.40
	23.0
	8.10
	6.95
	8.80
	1.84

	6.80
	42.0
	7.50
	19.9
	8.20
	5.72
	8.90
	1.56

	6.90
	39.1
	7.60
	17.0
	8.30
	4.71
	9.00
	1.32

	7.00
	36.1
	7.70
	14.4
	8.40
	3.88
	
	

	7.10
	32.8
	7.80
	12.1
	8.50
	3.20
	
	


h Criterion Continuous Concentration (CCC) for total ammonia nitrogen (in mg TAN/L):

(a) Shall be the thirty (30)-day average concentration for total ammonia computed for a design flow specified in §1105.5.
(b) Shall account for the influence of the pH and temperature as shown in Table 2d and Table 2e. The highest four (4)-day average within the thirty (30)-day period shall not exceed 2.5 times the CCC.
(c) Is, for the period March 1 through June 30, calculated using the following formula, which shall be used to calculate unlisted values: CCC = [(0.0577/(1+107.688-pH)) + (2.487/(1+ 10pH-7.688))] × MIN(2.85, 1.45 × 100.028 × (25-T))], where MIN indicates the lesser of the two values (2.85, 1.45 × 100.028 × (25-T)) separated by a comma, as shown in Table 2c  
(d) Is, for the period July 1 through February 28/29, calculated using the following formula, which shall be used to calculate unlisted values: CCC = [(0.0577/(1+107.688-pH)) + (2.487/(1+ 10pH-7.688))] × [1.45 × 100.028 X  (25-MAX(T,7)], where MAX indicates the greater of the two values (T,7) separated by a comma, as shown in Table 2d.
Table 2d: Total Ammonia Nitrogen (in mg N/L) CCC for Various pH and Temperatures for March 1 through June 30

	
	Temperature (°C)

	pH
	0
	14
	16
	18
	20
	22
	24
	26
	28
	30

	6.50
	6. 67
	6.67
	6.06
	5.33
	4.68
	4.12
	3.62
	3.18
	2.80
	2.46

	6.60
	6.57
	6.57
	5.97
	5.25
	4.61
	4.05
	3.56
	3.13
	2.75
	2.42

	6.70
	6.44
	6.44
	5.86
	5.15
	4.52
	3.98
	3.42
	3.00
	2.64
	2.32

	6.80
	6.29
	6.29
	5.72
	5.03
	4.42
	3.89
	3.42
	3.00
	2.64
	2.32

	6.90
	6.12
	6.12
	5.56
	4.89
	4.30
	3.78
	3.32
	2.92
	2.57
	2.25

	7.00
	5.91
	5.91
	5.37
	4.72
	4.15
	3.65
	3.21
	2.82
	2.48
	2.18

	7.10
	5.67
	5.67
	5.15
	4.53
	3.98
	3.50
	3.08
	2.70
	2.38
	2.09

	7.20
	5.39
	5.39
	4.90
	4.31
	3.78
	3.33
	2.92
	2.57
	2.26
	1.99

	7.30
	5.08
	5.08
	4.61
	4.06
	3.57
	3.13
	2.76
	2.42
	2.13
	1.87

	7.40
	4.73
	4.73
	4.30
	3.97
	3.49
	3.06
	2.69
	2.37
	2.08
	1.83

	7.50
	4.36
	4.36
	3.97
	3.49
	3.06
	2.69
	2.37
	2.08
	1.83
	1.61

	7.60
	3.98
	3.98
	3.61
	3.18
	2.79
	2.45
	2.16
	1.90
	1.67
	1.47

	7.70
	3.58
	3.58
	3.25
	2.86
	2.51
	2.21
	1.94
	1.71
	1.50
	1.32

	7.80
	3.18
	3.18
	2.89
	2.54
	2.23
	1.96
	1.73
	1.52
	1.33
	1.17

	7.90
	2.80
	2.80
	2.54
	2.24
	1.96
	1.73
	1.52
	1.33
	1.17
	1.03

	8.00
	2.43
	2.43
	2.21
	1.94
	1.71
	1.50
	1.32
	1.16
	1.02
	0.897

	8.10
	2.10
	2.10
	1.91
	1.68
	1.47
	1.29
	1.14
	1.00
	0.879
	0.773

	8.20
	1.79
	1.79
	1.63
	1.43
	1.26
	1.11
	0.973
	0.855
	0.752
	0.661

	8.30
	1.52
	1.52
	1.39
	1.22
	1.07
	0.941
	0.827
	0.727
	0.639
	0.562

	8.40
	1.29
	1.29
	1.17
	1.03
	0.906
	0.796
	0.700
	0.615
	0.541
	0.475

	8.50
	1.09
	1.09
	0.990
	0.870
	0.765
	0.672
	0.591
	0.520
	0.457
	0.401

	8.60
	0.920
	0.920
	0.836
	0.735
	0.646
	0.568
	0.499
	0.439
	0.386
	0.339

	8.70
	0.778
	0.778
	0.707
	0.622
	0.547
	0.480
	0.422
	0.371
	0.326
	0.287

	8.80
	0.661
	0.661
	0.601
	0.528
	0.464
	0.408
	0.359
	0.315
	0.277
	0.208

	8.90
	0.565
	0.565
	0.513
	0.451
	0.397
	0.349
	0.306
	0.269
	0.237
	0.208

	9.00
	0.486
	0.486
	0.442
	0.389
	0.342
	0.300
	0.264
	0.232
	0.204
	0.179


Table 2e: Total Ammonia Nitrogen (in mg N/L) CCC Criterion for Various pH and Temperatures for July 1 through February 28/29

	
	Temperature (°C)

	pH
	0-7
	8
	9
	10
	11
	12
	13
	14
	15*
	16*

	6.50
	10.8
	10.1
	9.51
	8.92
	8.36
	7.84
	7.35
	6.89
	6.46
	6.06

	6.60
	10.7
	9.99
	9.37
	8.79
	8.24
	7.72
	7.24
	6.79
	6.36
	5.97

	6.70
	10.5
	9.81
	9.20
	8.62
	8.08
	7.58
	7.11
	6.66
	6.25
	5.86

	6.80
	10.2
	9.58
	8.98
	8.42
	7.90
	7.40
	6.94
	6.51
	6.10
	5.72

	6.90
	9.93
	9.31
	8.73
	8.19
	7.68
	7.20
	6.75
	6.33
	5.93
	5.56

	7.00
	9.60
	9.00
	8.43
	7.91
	7.41
	6.95
	6.52
	6.11
	5.73
	5.37

	7.10
	9.20
	8.63
	8.09
	7.58
	7.11
	6.67
	6.25
	5.86
	5.49
	5.15

	7.20
	8.75
	8.20
	7.69
	7.21
	6.76
	6.34
	5.94
	5.57
	5.22
	4.90

	7.30
	8.24
	7.73
	7.25
	6.79
	6.37
	5.97
	5.60
	5.25
	4.92
	4.61

	7.40
	7.69
	7.21
	6.76
	6.33
	5.94
	5.57
	5.22
	4.89
	4.59
	4.30

	7.50
	7.09
	6.64
	6.23
	5.84
	5.48
	5.13
	4.81
	4.51
	4.23
	3.97

	7.60
	6.46
	6.05
	5.67
	5.32
	4.99
	4.68
	4.38
	4.11
	3.85
	3.61

	7.70
	5.81
	5.45
	5.11
	4.79
	4.49
	4.21
	3.95
	3.70
	3.47
	3.25

	7.80
	5.17
	4.84
	4.54
	4.26
	3.99
	3.74
	3.51
	3.29
	3.09
	2.89

	7.90
	4.54
	4.26
	3.99
	3.74
	3.51
	3.29
	3.09
	2.89
	2.71
	2.54

	8.00
	3.95
	3.70
	3.47
	3.26
	3.05
	2.86
	2.68
	2.52
	2.36
	2.21

	8.10
	3.41
	3.19
	2.99
	2.81
	2.63
	2.47
	2.31
	2.17
	2.03
	1.91

	8.20
	2.91
	2.73
	2.56
	2.4
	2.25
	2.11
	1.98
	1.85
	1.74
	1.63

	8.30
	2.47
	2.32
	2.18
	2.04
	1.91
	1.79
	1.68
	1.58
	1.48
	1.39

	8.40
	2.09
	1.96
	1.84
	1.73
	1.62
	1.52
	1.42
	1.33
	1.25
	1.17

	8.50
	1.77
	1.66
	1.55
	1.46
	1.37
	1.28
	1.20
	1.13
	1.06
	0.990

	8.60
	1.49
	1.40
	1.31
	1.23
	1.15
	1.08
	1.01
	0.951
	0.892
	0.836

	8.70
	1.26
	1.18
	1.11
	1.04
	0.976
	0.915
	0.858
	0.805
	0.754
	0.707

	8.80
	1.07
	1.01
	0.944
	0.885
	0.829
	0.778
	0.729
	0.684
	0.641
	0.601

	8.90
	0.917
	0.860
	0.806
	0.756
	0.709
	0.664
	0.623
	0.584
	0.548
	0.513

	9.00
	0.790
	0.740
	0.694
	0.651
	0.610
	0.572
	0.536
	0.503
	0.471
	0.442


*At 15°C and above, the criterion for July 1 through February 28/29 is the same as the criterion for March 1 through June 30.
Table 3: Organic Constituents Numeric Criteria

	Organic Constituenta

(µg/L) 
	CAS Number 
	Class C
	Class D

	
	
	CMC

1-Hour Avg

(Acute)
	CCC

4-Day Avg

(Chronic)
	30-Day

Avg

	Acrolein
	107028
	3.0
	3.0 
	400

	Acrylonitrile
	107131
	—
	700.0
	7.0, b

	Aldrin
	309002
	3.0
	0.4
	0.00000077, b

	Benzene
	71432
	—
	1000
	16, b

	Benzidine
	92875
	—
	250
	0.011, b

	Carbamates
	—
	—
	—
	—

	
	Carbaryl (Sevin)
	63252
	2.1
	2.1
	—

	Carbon Tetrachloride
	56235
	—
	1000
	5, b

	Chlordane
	57749
	2.4
	0.0043
	0.00032, b 

	Chlorinated Benzenes (except Di)
	—
	—
	25.0
	—

	
	Chlorobenzene 
	108907
	—
	—
	800

	
	1,2-Dichlorobenzene
	95501
	—
	200
	3,000

	
	1,3-Dichlorobenzene
	541731
	—
	200
	10

	
	1,4-Dichlorobenzene
	106467
	—
	200
	900

	
	Hexachlorobenzene
	118741
	—
	—
	0.000079, b

	
	Pentachlorobenzene
	608935
	—
	—
	0.1

	
	1,2,4,5-Tetrachlorobenzene
	95943
	—
	—
	0.03

	
	1,2,4-Trichlorobenzene
	120821
	—
	—
	0.076

	Chlorinated Ethanes
	—
	—
	50
	— 

	
	1,2-Dichloroethane
	107062
	—
	—
	650, b

	
	Hexachloroethane
	67721
	—
	—
	0.1, b

	
	1,1,2,2-Tetrachloroethane
	79345
	—
	—
	3, b

	
	1,1,1-Trichloroethane
	71556
	—
	—
	200,000

	
	1,1,2-Trichloroethane
	79005
	—
	—
	8.9, b

	Chlorinated Naphthalenes
	—
	—
	—
	—

	
	2-Chloronaphthalene
	91587
	—
	200
	1000

	Chlorinated Phenols
	—
	—
	—
	—

	
	2‑Chlorophenol
	95578
	—
	100
	800

	
	2,4‑Dichlorophenol
	120832
	—
	200
	60

	
	Pentachlorophenol
	87865
	Footnote c
	Footnote c
	0.04, b

	
	2,4,5-Trichlorophenol 
	95954
	—
	—
	600

	
	2,4,6-Trichlorophenol
	88062
	—
	—
	2.8, b 

	
	3-Methyl-4-Chlorophenol
	59507
	—
	—
	2,000

	Chloroalkyl Ethers
	—
	—
	1000
	—

	
	Bis(2-Chloroethyl) Ether
	111444
	—
	—
	2.2, b

	
	Bis(2-Chloro-1-methylethyl) Ether
	108601
	—
	—
	4,000

	
	Bis(Chloromethyl) Ether
	542881
	—
	—
	0.017, b

	Chlorophenoxy Herbicide (2,4-D)
	94757
	—
	—
	12,000

	Chlorophenoxy Herbicide (2,4,5-TP) [Silvex]
	93721
	—
	—
	400

	3,3-Dichlorobenzidine
	91941
	—
	10
	0.15, b

	Dichloroethylenes
	—
	—
	1000
	—

	
	1,1-Dichloroethylene
	75354
	—
	—
	20,000

	
	Trans-1,2-Dichloroethylene 
	156605
	—
	—
	4,000

	1,2-Dichloropropane
	78875
	—
	2000
	31, b

	Dichloropropenes
	—
	—
	400
	—

	
	1,3-Dichloropropene
	542756
	—
	—
	12, b

	Dieldrin
	60571
	0.24
	0.056
	0.0000012, b

	2,4‑Dimethylphenol
	105679
	—
	200
	3000

	2,4-Dinitrotoluene
	121142
	—
	33
	1.7, b

	Dioxin (2,3,7,8-TCDD)
	1746016
	—
	—
	0.0000000051, b

	1,2-Diphenylhydrazine
	122667
	—
	30
	0.2, b

	Endosulfan 
	—
	0.22
	0.056
	89

	
	alpha-Endosulfan
	959988
	0.22
	0.056
	30

	
	beta-Endosulfan
	33213659
	0.22
	0.056
	40

	Endosulfan Sulfate
	1031078
	—
	—
	40

	Endrin
	72208
	0.086
	0.036
	0.03

	Endrin Aldehyde
	7421934
	—
	—
	1

	Ethylbenzene
	100414
	—
	40
	130

	Halomethanes
	—
	—
	1000
	—

	
	Bromoform
	75252
	—
	—
	120, b

	
	Chloroform
	67663
	—
	3000
	2000

	
	Chlorodibromomethane
	124481
	—
	—
	21, b

	
	Dichlorobromomethane
	75274
	—
	—
	27, b

	
	Methyl Bromide
	74839
	—
	—
	10,000

	
	Methylene Chloride
	75092
	—
	—
	1,000, b

	Heptachlor
	76448
	0.52
	0.0038
	0.0000059, b

	Heptachlor Epoxide
	1024573
	0.52
	0.0038
	0.000032, b

	Hexachlorobutadiene
	87683
	—
	10
	0.01, b

	Hexachlorocyclohexane (HCH)- Technical
	608731
	—
	—
	0.010, b

	
	alpha-Hexachlorocyclohexane (HCH)
	319846
	—
	—
	0.00039, b

	 
	beta-Hexachlorocyclohexane (HCH)
	319857
	—
	—
	0.014, b

	
	gamma-Hexachlorocyclohexane (HCH) [Lindane]
	58899
	0.95
	0.08
	4.4

	Hexachlorocyclopentadiene
	77474
	—
	0.5
	4

	Isophorone
	78591
	—
	1000
	1,800, b

	Methoxychlor
	72435
	—
	0.03
	0.02

	Mirex
	2385855
	—
	0.001
	—

	Nitrobenzene
	98953
	—
	1000
	600

	Nitrophenols
	—
	—
	20
	—

	
	2-Methyl-4,6- Dinitrophenol
	534521
	—
	—
	30

	
	2,4-Dinitrophenol
	51285
	—
	—
	300

	
	Dinitrophenols
	25550587
	—
	—
	1,000

	Nitrosamines
	—
	—
	600
	1.24, b                                                                                                                                               

	
	N-Nitrosodibutylamine
	924163
	—
	—
	0.22 b                                                                                                                

	
	N-Nitrosodiethylamine
	55185
	—
	—
	1.24, b

	
	N-Nitrosodimethylamine
	62759
	—
	—
	3.0, b

	
	N-Nitrosodi-n-Propylamine
	621647
	—
	—
	0.51, b

	
	N-Nitrosodiphenylamine
	86306
	—
	—
	6.0, b

	
	N-Nitrosopyrrolidine   
	930552
	—
	—
	34, b 

	
	Nonylphenol
	84852153
	28
	6.6
	—

	Organochlorides
	—
	—
	—
	—

	
	4,4’-DDD
	72548
	1.1
	0.001
	0.00012, b

	
	4,4’-DDE
	72559
	1.1
	0.001
	0.000018, b

	
	4,4’-DDT
	50293
	1.1
	0.001
	0.000030, b 

	Organophosphates
	—
	—
	—
	—

	
	Diazinon
	333415
	0.3397
	0.1699
	—

	
	Guthion
	86500
	—
	0.01
	—

	
	Malathion
	121755
	—
	0.1
	—

	
	Parathion
	56382
	0.065
	0.013
	—

	Phenol
	108952
	—
	—
	300,000

	Phthalate Esters
	—
	—
	100
	—

	
	Bis(2-Ethylhexyl) Phthalate
	117817
	—
	—
	0.37, b 

	
	Butylbenzyl Phthalate
	85687
	—
	—
	0.10, b

	
	Diethyl Phthalate
	84662
	—
	—
	600

	
	Dimethyl Phthalate
	131113
	—
	—
	2,000

	
	Di-n-Butyl Phthalate
	84742
	—
	—
	30

	Polychlorinated Biphenyls (PCB)d
	—
	—
	0.014
	0.000064, b 

	Polynuclear aromatic hydrocarbons (PAH)
	—
	—
	—
	—

	
	Acenaphthene
	83329
	—
	50
	90

	
	Acenaphthylene
	208968
	—
	—
	—

	
	Anthracene
	120127
	—
	—
	400

	
	Benzo(a)anthracene
	56553
	—
	—
	0.0013, b

	
	Benzo(a)pyrene
	50328
	—
	—
	0.00013, b

	
	Benzo(b)fluoranthene
	205992
	—
	—
	0.0013, b

	
	Benzo(k)fluoranthene
	207089
	—
	—
	0.013, b

	
	Chrysene
	218019
	—
	—
	0.13, b

	
	Dibenzo(a,h)anthracene
	53703
	—
	—
	0.00013, b 

	
	Fluoranthene
	206440
	—
	400
	20

	
	Fluorene
	86737
	—
	—
	70

	
	Indeno(1,2,3-cd)pyrene
	193395
	—
	—
	0.0013, b 

	
	Naphthalene
	91203
	—
	600
	—

	
	Pyrene
	129000
	—
	—
	30

	Tetrachloroethylene
	127184
	—
	800
	29, b 

	Toluene
	108883
	—
	600
	520

	Toxaphene
	8001352
	0.73
	0.0002
	0.00071, b 

	Tributyltin (TBT)
	—
	0.46
	0.072
	—

	Trichloroethylene
	79016
	—
	1000
	7, b 

	Vinyl chloride
	75014
	—
	—
	1.6, b


Notes:

a For constituents with blank numeric criteria, EPA has not made a criteria recommendation under CWA 304(a) at this time. However, permit authorities will address these constituents in NPDES permit actions using the narrative criteria for toxics.

b The criteria are based on carcinogenicity of 10−6 risk level.

c The formulas for calculating the concentrations of substances indicated above are as follows:

	Pentachlorophenol CMC 

(µg/L)
	Pentachlorophenol CCC 

(µg/L)

	e(1.005(pH) - 4.869)
	e(1.005(pH) - 5.134)


d The polychlorinated biphenyls (PCB) criterion applies to total PCBs (e.g., the sum of all congener, isomer, homolog, or Aroclor analyses.)
SOURCE: Final Rulemaking published at 41 DCR 1075, 1077 (March 4, 1994); as amended by Final Rulemaking published at 47 DCR 284(January 21, 2000); as amended by Final Rulemaking published at 49 DCR 3012 (April 5, 2002); as amended by Emergency and Proposed Rulemaking published at 49 DCR 1706 (February 22, 2002); as amended by Final Rulemaking published at 52 DCR 9621(October 28, 2005); as amended by Final Rulemaking published at 57 DCR 9129, 9135-9146 (October 1, 2010); as amended by Final Rulemaking published at 60 DCR 15231 (November 1, 2013); as amended by Final Rulemaking published at 67 DCR 5371 (May 22, 2020); as amended by Final Rulemaking published at 72 DCR 002805 (March 14, 2025).
	
	Water and Sanitation
21 DCMR § 1104

	

	
	
	



