District of Columbia Municipal Regulations


N104 

SMOKE DETECTION 

N104.1 General.  Smoke alarms shall be installed in all home day care occupancies.  Smoke alarms shall be installed in accordance with Section R313 of the Residential Code or Section 907.2.11.2 of the Fire Code as applicable.  In addition to the locations required by Section R313 of the Residential Code or Section 907.2.11.2, smoke alarms shall be installed in all areas used for napping.
SOURCE: Final Rulemaking published at 67 DCR 6232 (May 29, 2020 – Part 2).

The District of Columbia Fire Code (2017), referred to as the “Fire Code,” consists of the 2015 edition of the International Fire Code (International Fire Code), published by the International Code Council (ICC), as amended by the Fire Code Supplement of 2017 (12-H DCMR). The International Fire Code is copyrighted by the ICC and therefore is not republished here. However, a copy of the text may be reviewed at:

https://codes.iccsafe.org/public/document/IFC2015.
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