District of Columbia Municipal Regulations


1606  
REAR YARD
1606.1 A rear yard shall be provided for each public recreation and community center or public library located in any R, RF, or RA zone, the minimum depth of which shall be as set forth in the following table:
TABLE C § 1606.1: REAR YARD FOR PUBLIC RECREATION AND COMMUNITY CENTER OR PUBLIC LIBRARY

	Zone
	Minimum Rear Yard (Feet)

	R-1-A, R-1-B, R-6, R-7,

R-8, R-9, R-11, R-12, R-14,
R-15, R-16, R-19, R-21
	25 feet

	R-2, R-3, R-10, R-13, R-17, R-20, all RF, RA-1, RA-6
	20 feet

	RA-2, RA-3, RA-4, RA-7,

RA-8, RA-9, RC-1
	4 in./ft. of vertical distance from the mean finished grade at the middle of the rear of the structure to the highest point of the main roof or parapet wall, but not less than 15 ft.

	RA-5, RA-10
	3 in./ft. of vertical distance from the mean finished grade at the middle of the rear of the structure to the highest point of the main roof or parapet wall, but not less than 12 ft.


1606.2 In the case of a corner lot abutting three (3) or more streets, the rear yard may be measured from the center line of the street abutting the lot at the rear of the structure.

1606.3 In the case of a lot proposed to be used by a public recreation and community center or public library that abuts or adjoins along the rear lot line a public open space, recreation area, or reservation, no rear yard shall be required.
SOURCE: Final Rulemaking published at 63 DCR 2447, 2712 (March 4, 2016 – Part 2); 
as amended by Final Rulemaking published at 67 DCR 3776 (April 3, 2020).
	
	Zoning Regulations of  2016: 
General Rules
11-C DCMR § 1606

	

	
	
	



