District of Columbia Municipal Regulations


5804
TANK TIGHTNESS TESTING UPON UPGRADE

5804.1
Before beginning to operate an upgraded UST system, the owner or operator shall have a tightness test performed in accordance with the requirements of § 6007, unless the tank is upgraded by cathodic protection and the owner or operator complies with § 5801.7(c).

SOURCE: Final Rulemaking published at 40 DCR 7835 (November 12, 1993); as amended by Final Rulemaking published at 46 DCR 7699 (October 1, 1999); as amended by Final Rulemaking published at 67 DCR 1778 (February 21, 2020).
	
	Environment
20 DCMR § 5804

	

	
	
	



