District of Columbia Municipal Regulations


505
FACILITY MAINTENANCE ─ CLEANABILITY, SANITIZATION AND MAINTENANCE OF PLUMBING FIXTURES
505.1
Plumbing fixtures such as handwashing sinks, toilets, and urinals shall be cleaned as often as necessary to keep them clean and well-maintained.  

505.2
All body art establishments shall be equipped with toilet facilities, which include a water closet and handwashing sinks, including hot and cold running water, hand cleaning liquid or powder, and a paper towel dispenser or equivalent hand drying equipment. 

505.3
Each body art establishment used for tattoo or body piercing shall contain a mop sink and a hand sink with hot and cold running water, antibacterial soap and single-use towels in dispensers. 

505.4
All restrooms shall be kept in sanitary condition and good repair. 

SOURCE: Final Rulemaking published at 64 DCR 13496 (December 29, 2017).
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