District of Columbia Municipal Regulations


5503
PARTIAL APPLICABILITY OF UST REGULATIONS TO HEATING OIL TANKS 

5503.1
The owner or operator of a heating oil tank having a capacity less than one thousand one hundred (1,100) gallons is exempt from the requirements of the UST Regulations with the following exceptions:

(a) In the event of a suspected or confirmed release from the UST, Chapter 56, except §§ 5600.6(d) and 5601;

(b)
Chapter 61, except that the Department may waive or modify any requirements that are inappropriate or unduly burdensome; and 

(c) 
Chapter 62, except that, after considering the nature of the release and the degree of contamination, the Department may waive or modify any requirements that are inappropriate or unduly burdensome.

5503.2
The owner or operator of each heating oil tank having a capacity of one thousand one hundred (1,100) gallons or more shall comply with the following:

(a) Chapter 56;

(b) Section 5700;
(c) For heating oil tanks installed after November 12, 1993, §§ 5703 through 5706;

(d) Chapter 59; 

(e) The provisions of Chapter 60 pertaining to release detection for heating oil tanks; 

(f)
The provisions of Chapter 61 pertaining to closure of heating oil tanks; and

(g)
Chapter 62, except that, after considering the nature of the release and the degree of contamination, the Department may waive or modify any requirements that are inappropriate or unduly burdensome.

5503.3
The owner or operator of each UST used to store heating oil for a purpose other than consumptive use on the premises where the UST is located shall comply with all requirements of the UST Regulations.

SOURCE: Final Rulemaking published at 40 DCR 7835 (November 12, 1993); as amended by Final Rulemaking published at 46 DCR 7699 (October 1, 1999); as amended by Final Rulemaking published at 56 DCR 6678 (August 21, 2009); as amended by Final Rulemaking published at 67 DCR 1778 (February 21, 2020).
	
	Environment
20 DCMR § 5503

	

	
	
	



