District of Columbia Municipal Regulations


503
GENERAL BUILDING HEIGHT AND AREA LIMITATIONS
Strike Section 503.1.1 of the International Building Code in its entirety and insert new Section 503.1.1 in the Building Code in its place to read as follows:
503.1.1 Special industrial occupancies. Buildings and structures designed to house special low-hazard industrial processes that require large areas and unusual building heights to accommodate craneways or special machinery and equipment, including, among others, rolling mills; structural metal fabrication shops and foundries; or collection and treatment of sewage and stormwater, or the production and distribution of electric, gas or steam power, shall be exempt from the building height, number of stories and building area limitations specified in Sections 504 and 506. Ordinary repairs of such buildings or structures shall include specifically engineered structural and mechanical components designed for removal and replacement in kind.
SOURCE: Final Rulemaking published at 67 DCR 5690 (May 29, 2020 – Part 2).
The District of Columbia Building Code (2017), referred to as the “Building Code,” consists of the 2015 edition of the International Building Code (International Building Code), published by the International Code Council (ICC), as amended by the Building Code Supplement of 2017 (12-A DCMR). The International Building Code is copyrighted by the ICC and therefore is not republished here. However, a copy of the text may be obtained at: https://codes.iccsafe.org/public/document/IBC2015.
	
	Building Code Supplement of 2017
12-A DCMR § 503

	

	
	
	



