District of Columbia Municipal Regulations


523
STORMWATER MANAGEMENT: RESTRICTIONS

523.1
The Department may restrict use of an infiltration Best Management Practice (BMP) to prevent contamination of soil or groundwater and require submittal of and compliance with a Stormwater Pollution Prevention Plan if:

(a) An applicant proposes to engage in a land use activity that has the potential to pollute stormwater runoff, as specified in the Department’s Stormwater Management Guidebook (SWMG); or

(b) Surface contamination is present at the site.

523.2 To prevent stormwater migration in underlying soil or groundwater in an area determined to have sub-surface contamination of soil or groundwater, the Department may:

(a) Prohibit use of an infiltration BMP; or

(b) Limit use of an infiltration BMP, including by requiring that an impermeable liner be used.

523.3
The Department may require a BMP that receives runoff from a stormwater hotspot designated in the Department’s SWMG to include pollution control measures, including, as applicable, a baffle, skimmer, oil separator, grease trap, or other mechanism which prevents release of oil and grease in concentrations exceeding ten milligrams per Liter (10 mg/L).

523.4
The Department may require a BMP that receives runoff from an animal confinement area to:

(a) Connect to a combined sewer, if DC Water approves the connection as not exceeding available capacity; or

(b) Include pollution control measures necessary to protect water quality standards of the receiving waterbody, if the runoff discharges directly to a waterbody or through the separate sewer system. 

523.5
No person shall use a coal tar product, or other toxic material, to seal a BMP. 

SOURCE: Final Rulemaking published at 60 DCR 10640 (July 19, 2013).
	
	Water and Sanitation
21 DCMR § 523

	

	
	
	



