District of Columbia Municipal Regulations


310
RESIDENTIAL GROUP R

Strike Sections 310.5, 310.5.1 and 310.6 of the International Building Code and insert new Sections 310.5, 310.5.1, 310.5.2 and 310.6 in the Building Code in their place to read as follows.

310.5 Residential Group R-3.  Residential Group R-3 occupancies where the occupants are primarily permanent in nature and not classified as Group R-1, R-2, R-4 or I, including: 

1. Buildings that do not contain more than two dwelling units; 

2. Boarding houses (nontransient) with 16 or fewer occupants; 
3. Boarding houses (transient) with 10 or fewer occupants; 

4. Care facilities that provide accommodations for six or fewer persons receiving care; 
5. Congregate living facilities (nontransient) with 16 or fewer occupants; 
6. Congregate living facilities (transient) with 10 or fewer occupants.

7. Lodging houses with five or fewer guest rooms.

310.5.1 Care facilities within a dwelling.  Care facilities for six or fewer persons receiving care that are within detached one- and two-family dwellings and townhouses are permitted to comply with the Residential Code, provided that an automatic sprinkler system is installed in accordance with Section 903.3.1.3 or with Section P2904 of the Residential Code.
310.5.2 Lodging houses. Owner-occupied lodging houses with five or fewer guest rooms shall be permitted to be constructed in accordance with the Residential Code.
310.6 Residential Group R-4.  Residential Group R-4 occupancy shall include buildings, structures or portions thereof for more than six but not more than 16 persons, excluding staff, who reside on a 24-hour basis in a supervised residential environment and receive custodial care.  Buildings of Group R-4 shall be classified as one of the occupancy conditions specified in Section 310.6.1 or 310.6.2. This group shall include, but not be limited to, the following: 

1. Alcohol and drug centers; 

2. Assisted living facilities; 

3. Congregate care facilities; 

4. Convalescent facilities; 
5. Group homes; 

6. Halfway houses; 

7. Residential board and custodial care facilities; and

8. Social rehabilitation facilities. 

Group R-4 occupancies shall meet the requirements for construction as defined for Group R-3, except as otherwise provided for in this code.

310.6.1 Condition 1.  This occupancy condition shall include buildings in which all persons receiving custodial care, without any assistance, are capable of responding to an emergency situation to complete building evacuation.

310.6.2 Condition 2.  This occupancy condition shall include buildings in which there are any persons receiving custodial care who require limited verbal or physical assistance while responding to an emergency situation to complete building evacuation.

SOURCE: Final Rulemaking published at 67 DCR 5690 (May 29, 2020 – Part 2).
The District of Columbia Building Code (2017), referred to as the “Building Code,” consists of the 2015 edition of the International Building Code (International Building Code), published by the International Code Council (ICC), as amended by the Building Code Supplement of 2017 (12-A DCMR). The International Building Code is copyrighted by the ICC and therefore is not republished here. However, a copy of the text may be obtained at: https://codes.iccsafe.org/public/document/IBC2015.
	
	Building Code Supplement of 2017
12-A DCMR §310

	

	
	
	



