District of Columbia Municipal Regulations


604
ISSUANCE OF FACILITY LICENSE ─ REQUIRED PLAN REVIEWS AND APPROVALS
604.1
DCRA and the Department shall review and approve the submission of completed plans and specifications, as follows: 

(a)
Proposed layout, mechanical schematics, electrical, construction materials, and finish schedules;

(b)
Proposed equipment types, manufacturers, model numbers, locations, dimensions, performance capacities, and installation specifications;

(c)
A complete set of elevations and drawings for all custom fabricated equipment; 

(d)
Approvals from other District agencies during the construction or renovation, as necessary; and

(e)
Licensees shall provide written Infection Prevention and Exposure Control Plan as specified in § 205.1.

604.2
The Department shall approve the completed plans and specifications if they meet the requirements of this Subtitle, and the Department shall report its findings to the license applicant or operator within thirty (30) business days of the date the completed plans are received. 

604.3
Plans and specifications that are not approved as submitted to the Department shall be changed by the applicant or licensee to comply with this Subtitle or shall be deleted by the applicant or licensee from the project.

SOURCE: Final Rulemaking published at 68 DCR 013026 (December 10, 2021).
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