District of Columbia Municipal Regulations


1512
ROOF SOLAR REFLECTANCE AND THERMAL EMITTANCE

Insert new Section 1512 to the Building Code to read as follows:

1512.1 Roof solar reflectance and thermal emittance.  Low-sloped roofs shall comply with the roof solar reflectance and thermal emittance requirements set forth in Section 5.5.3.1.1 of the Energy Conservation Code-Commercial and Section R402.6 of the Energy Conservation Code-Residential, as applicable.

SOURCE: Final Rulemaking published at 67 DCR 5690 (May 29, 2020 – Part 2).
The District of Columbia Building Code (2017), referred to as the “Building Code,” consists of the 2015 edition of the International Building Code (International Building Code), published by the International Code Council (ICC), as amended by the Building Code Supplement of 2017 (12-A DCMR). The International Building Code is copyrighted by the ICC and therefore is not republished here. However, a copy of the text may be obtained at: https://codes.iccsafe.org/public/document/IBC2015.
	
	Building Code Supplement of 2017
12-A DCMR § 1512

	

	
	
	



