District of Columbia Municipal Regulations


6208
TIER 0 STANDARDS

6208.1
The Tier 0 standards for soil shall be the following:

(a) Total petroleum hydrocarbons (TPH), gasoline range organics (GRO), or diesel range organics (DRO) concentrations in soil shall be no greater than one hundred milligrams per kilogram (100 mg/kg); and

(b) Individual chemicals of concern concentrations in soil shall not exceed:

(1) For benzene: five thousandths of a milligram per kilogram (0.005 mg/kg);

(2) For tolulene: nine and six tenths milligrams per kilogram (9.6 mg/kg);

(3) For ethylbenzene: four hundredths of a milligram per kilogram (0.04 mg/kg); and 

(4) For total xylenes: three and eighty-six hundredths of a milligram per kilogram (3.86 mg/kg).
6208.2

The Tier 0 standards for water shall be the following: 
(a)
Levels for ground water quality are the District Water Quality Standards for Ground Water in 21 DCMR § 1155; and

(b)
Levels for surface water quality are the District Water Quality Standards in 21 DCMR § 1104.

SOURCE: Final Rulemaking published at 40 DCR 7835 (November 12, 1993); as amended by Final Rulemaking published at 46 DCR 7699 (October 1, 1999); as amended by Final Rulemaking published at 67 DCR 1778 (February 21, 2020).
	
	Environment
20 DCMR § 6208

	

	
	
	



