District of Columbia Municipal Regulations


5606
THIRD-PARTY CERTIFICATION

5606.1
In lieu of inspection by the Department, an owner or operator may request the Department to approve compliance inspections of UST system installations, upgrades, repairs, closures, release detection system(s), and manufacturer-required annual maintenance inspections performed by an independent third-party inspector who is a Department-certified UST System Technician. 

5606.2
If the Department approves use of an independent third-party inspector, the Department will accept the third-party inspector’s report and findings if the report contains all the compliance inspection information required by the Department.

5606.3
An independent third-party inspector may not certify an UST system if he or she has a financial interest in the UST system or the facility in which the UST is located. 

SOURCE: Final Rulemaking published at 40 DCR 7835, 7844 (November 12, 1993); as amended by Final Rulemaking published at 46 DCR 7699 (October 1, 1999); as amended by Final Rulemaking published at 67 DCR 1778 (February 21, 2020).
	
	Environment
20 DCMR § 5606

	

	
	
	



