District of Columbia Municipal Regulations


311           
MAINTENANCE RECORDS ─ STERILIZERS*
311.1
The Department shall require calibration of all sterilization equipment by an independent laboratory that will calibrate the equipment biennially or more frequently if recommended by the manufacturer and records of the calibrations shall be maintained on the premises for inspection by the Department for three (3) years.

311.2
Sterilizers shall be spore tested in accordance with manufacturer’s recommendations and records of the spore tests shall be maintained on the premises for three (3) years after the date of the results for inspection by the Department.

SOURCE: Final Rulemaking published at 64 DCR 13496 (December 29, 2017).
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