District of Columbia Municipal Regulations


4012

APPLICANT OPTIONS MEETING

If the EDC determines the Interconnection Request cannot be approved without evaluation under Level 4 Interconnection Review, at the time the EDC notifies the Interconnection Customer of either the Level 1, 2, or 3 Interconnection Review, or Supplemental Review, results, it shall provide the Interconnection Customer the option of proceeding to a Level 4 Interconnection Review or of participating in an applicant options meeting with the EDC to review possible Small Generator Facility modifications or the screen analysis and related results, to determine what further steps are needed to permit the Small Generator Facility to be connected safely and reliably.  The Interconnection Customer shall notify the EDC that it requests an applicant options meeting or that it would like to proceed to Level 4 Interconnection Review in writing within fifteen (15) business days of the EDC’s notification or the Interconnection Request shall be deemed withdrawn.  If the Interconnection Customer requests an applicant options meeting, the EDC shall offer to convene a meeting at a mutually agreeable time within the next fifteen (15) business days.
SOURCE: Final Rulemaking published at 56 DCR 1415 (February 13, 2009); as amended by Final Rulemaking published at 66 DCR 01132 (January 25, 2019); as amended by Final Rulemaking published at 68 DCR 8244 (August 20, 2021).
	
	Public Utilities and Cable Television
15 DCMR § 4012

	

	
	
	



