District of Columbia Municipal Regulations


AM105 
CARBON MONOXIDE DETECTION

AM105.1 General.  Carbon monoxide alarms shall be installed in all dwellings used for home day care equipped with a fuel burning appliance or an attached garage.  Carbon monoxide alarms shall be installed in accordance with Section R315.

SOURCE: Final Rulemaking published at 67 DCR 6033 (May 29, 2020 – Part 2).
The District of Columbia Residential Code (2017), referred to as the “Residential Code,” consists of the 2015 edition of the International Residential Code (International Residential Code), published by the International Code Council (ICC), as amended by the Residential Code Supplement of 2017 (12-B DCMR). The International Residential Code is copyrighted by the ICC and therefore is not republished here. However, a copy of the text may be obtained at https://codes.iccsafe.org/public/document/IRC2015.
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