District of Columbia Municipal Regulations


209

COURT

209.1
Courts are not required in any of the MU-1 through MU-15 zones; however, where a court is provided, the court shall have the following minimum dimensions:

TABLE G § 209.1: MINIMUM COURT DIMENSIONS

	Type of Structure
	Open Court

Minimum Width 
	Closed Court

	
	
	Minimum Width 
	Minimum Area

	Residential, 3 or more units
	4 in. per 1 ft. of height of court but not less than

10 ft.
	4 in. per 1 ft. of height of court; but not less than

15 ft.
	Twice the square of the required width of court dimension based on the height of the minimum court width; but not less than 350 sq. ft.

	All Other Structures
	2.5 in. per 1 ft. of height of court but not less than

6 ft.
	2.5 in. per 1 ft. of height of court; but not less than

12 ft.
	Twice the square of the required width of court dimension based on the height of the minimum court width; but not less than 250 sq. ft.


SOURCE: Final Rulemaking published at 70 DCR 011297 (August 25, 2023).
	
	Zoning Regulations of 2016: 
Mixed-Use (MU) Zones
11-G DCMR § 209

	

	
	
	



