District of Columbia Municipal Regulations


5803
SPILL AND OVERFILL PREVENTION EQUIPMENT UPGRADES

5803.1
To prevent spilling and overfilling associated with product transfer to the UST, all existing UST systems shall comply with new UST spill and overfill prevention equipment requirements specified in § 5705.

SOURCE: Final Rulemaking published at 40 DCR 7835 (November 12, 1993); as amended by Final Rulemaking published at 46 DCR 7699 (October 1, 1999); as amended by Final Rulemaking published at 67 DCR 1778 (February 21, 2020).
	
	Environment
20 DCMR § 5803

	

	
	
	



