District of Columbia Municipal Regulations


1003

GENERAL MEANS OF EGRESS
Insert a new Exception 9 to Section 1003.2 of the International Building Code to read as follows:

Exceptions: 

9.
The exit discharge and exit passageways in a means of egress system shall be allowed to have a ceiling height of not less than 7 feet (2134 mm).

SOURCE: Final Rulemaking published at 67 DCR 5690 (May 29, 2020 – Part 2).
The District of Columbia Building Code (2017), referred to as the “Building Code,” consists of the 2015 edition of the International Building Code (International Building Code), published by the International Code Council (ICC), as amended by the Building Code Supplement of 2017 (12-A DCMR). The International Building Code is copyrighted by the ICC and therefore is not republished here. However, a copy of the text may be obtained at: https://codes.iccsafe.org/public/document/IBC2015.
	
	Building Code Supplement of 2017
12-A DCMR § 1003

	

	
	
	



