District of Columbia Municipal Regulations


403
HIGH-RISE BUILDINGS

Strike Section 403.4.5 of the International Building Code in its entirety and insert new Section 403.4.5 in the Building Code in its place to read as follows:

403.4.5  Emergency responder radio coverage.  Emergency responder radio coverage shall be provided in accordance with Section 510 of the Fire Code.

Strike Section 403.6.1 of the International Building Code without replacement.
SOURCE: Final Rulemaking published at 67 DCR 5690 (May 29, 2020 – Part 2).
The District of Columbia Building Code (2017), referred to as the “Building Code,” consists of the 2015 edition of the International Building Code (International Building Code), published by the International Code Council (ICC), as amended by the Building Code Supplement of 2017 (12-A DCMR). The International Building Code is copyrighted by the ICC and therefore is not republished here. However, a copy of the text may be obtained at: https://codes.iccsafe.org/public/document/IBC2015.
	
	Building Code Supplement of 2017
12-A DCMR § 403

	

	
	
	



