District of Columbia Municipal Regulations


E3403 
INSPECTION AND APPROVAL 

Strike Section E3403.2 of the International Residential Code in its entirety and insert a new Section E3403.2 into the Residential Code in its place to read as follows:

E3403.2 Inspection required. New electrical work and parts of existing systems affected by new work or alteration shall be inspected by the code official in accordance with the general administrative and inspection requirements of Chapter 1 of the Building Code, Title 12-A DCMR, to ensure compliance with the requirements of Chapters 34 through 43. 

SOURCE: Final Rulemaking published at 67 DCR 6033 (May 29, 2020 – Part 2).
The District of Columbia Residential Code (2017), referred to as the “Residential Code,” consists of the 2015 edition of the International Residential Code (International Residential Code), published by the International Code Council (ICC), as amended by the Residential Code Supplement of 2017 (12-B DCMR). The International Residential Code is copyrighted by the ICC and therefore is not republished here. However, a copy of the text may be obtained at https://codes.iccsafe.org/public/document/IRC2015.
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