District of Columbia Municipal Regulations


Insert new Section 117 in the Building Code to read as follows:

117 
POSTING OF OCCUPANT LOAD AND LIVE LOAD SIGNS 

117.1 Occupant Load.  Occupant load signs shall be posted in accordance with Section 1004.3.  Rooms or spaces which have multiple use capability shall be posted for the occupant loads of all such uses.

117.1.1 Occupant Load Calculations. The occupant load calculations shall be determined in accordance with Section 1004.

117.2 Installation of Live Load Signs.  Where reduced live loads are applied in accordance with the exception to Section 1607.3 in buildings erected before July 1, 1925, all such design live loads shall be conspicuously posted by the owner in that part of each story in which they apply, using durable signs of an approved, legible, permanent design, before issuance of a certificate of occupancy or before approval of a final inspection pursuant to Section 109.3.14.  It shall be unlawful to remove or deface such notices.

117.3 Restrictions on Loading.  It shall be unlawful to place, or cause or permit to be placed, on any floor or roof of a building, structure or portion thereof, loads greater than permitted by the Construction Codes.

SOURCE: Final Rulemaking published at 67 DCR 5690 (May 29, 2020 – Part 2).
The District of Columbia Building Code (2017), referred to as the “Building Code,” consists of the 2015 edition of the International Building Code (International Building Code), published by the International Code Council (ICC), as amended by the Building Code Supplement of 2017 (12-A DCMR). The International Building Code is copyrighted by the ICC and therefore is not republished here. However, a copy of the text may be obtained at: https://codes.iccsafe.org/public/document/IBC2015.
	
	Building Code Supplement of 2017
12-A DCMR § 117

	

	
	
	



