District of Columbia Municipal Regulations


G106   
INSPECTIONS

G106.1 General.  Work under a permit within the scope of this appendix shall be subject to inspection by the code official in accordance with Section 109 of the Building Code. 

G106.2 Elevation Certificate.  An elevation certificate in accordance with Section 1612.5 shall be submitted to the code official and reviewed and approved by the Floodplain Administrator in accordance with the following: 
1. Upon placement of the lowest floor and prior to further vertical construction, as specified in Section 109.3.1.5.; and

2. Prior to the final inspection or prior to the issuance of a conditional certificate of occupancy for core and shell, whichever is earlier as specified in Section 109.3.1.11.1. 

G106.3 Floodproofing Certificate. A floodproofing certificate in accordance with Section 1612.5 shall be submitted to the code official and reviewed and approved by the Floodplain Administrator prior to: (a) the final inspection, or (b) the issuance of a certificate of completion or the issuance of the first certificate of occupancy for a occupied space at grade or above, whichever of (a) or (b) is earlier, to certify a floodproofing design for a non-residential building that is permitted as an alternative to elevating to or above the base flood elevation as specified in Section 109.3.1.11.1.
SOURCE: Final Rulemaking published at 67 DCR 5690 (May 29, 2020 – Part 2).
The District of Columbia Building Code (2017), referred to as the “Building Code,” consists of the 2015 edition of the International Building Code (International Building Code), published by the International Code Council (ICC), as amended by the Building Code Supplement of 2017 (12-A DCMR). The International Building Code is copyrighted by the ICC and therefore is not republished here. However, a copy of the text may be obtained at: https://codes.iccsafe.org/public/document/IBC2015.
	
	Building Code Supplement of 2017
12-A DCMR § G106

	

	
	
	



