District of Columbia Municipal Regulations


703
HVAC SYSTEMS AND EQUIPMENT
Strike Section 703.1 of the International Green Construction Code in its entirety without substitution.

703.1 Hydronic closed systems. [Deleted]

Strike Section 703.2 of the International Green Construction Code in its entirety without substitution. 

703.2 Humidification System. [Deleted]

Strike Section 703.3 of the International Green Construction Code in its entirety without substitution.

703.3 Condensate coolers and tempering. [Deleted]

Strike Section 703.4 of the International Green Construction Code in its entirety and insert new Section 703.4 in the Green Construction Code to read as follows:

703.4 Condensate drainage recovery. For new construction and Level 3 alteration projects with individual HVAC equipment that is 20 tons or larger, and where a water reclamation system is being installed or already in place to collect and reuse condensate, condensate shall be collected and reused onsite for applications such as, but not limited to, water features, fountains, green roofs, gray water collection systems and rainwater collection systems
Strike Section 703.6 of the International Green Construction Code in its entirety without substitution.

703.6 Humidifier discharge. [Deleted]

Strike Section 703.7.5 of the International Green Construction Code in its entirety without substitution.
703.7.5 Drift. [Deleted]

Strike Section 703.8 (including Sections 703.8.1 and 703.8.2) of the International Green Construction Code in its entirety without substitution.

703.8 Wet-hood exhaust scrubber systems [Deleted]

703.8.1 Washdown systems [Deleted]

703.8.2 Water sources [Deleted]

SOURCE: Final Rulemaking published at 67 DCR 6509 (May 29, 2020 – Part 2).
The District of Columbia Green Construction Code (2017), referred to as the “Green Construction Code,” consists of the 2012 edition of the International Green Construction Code (International Green Construction Code), published by the International Code Council (ICC), as amended by the District of Columbia Green Construction Code Supplement  of 2017 (12-K DCMR). The International Green Construction Code is copyrighted by the ICC and therefore is not republished here. However, a copy of the text may be obtained at:
https://codes.iccsafe.org/public/document/toc/548/.
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