3304
PROHIBITED PRACTICES
3304.1
The practices listed in this subsection are prohibited when performing any lead based paint activity or any renovation activity that disturbs presumed lead-based paint.  No individual, firm or business entity shall use:
(a)
Open flame burning or torching of paint;
(b)
Machine sanding, planing, or grinding, or use of a needle gun to remove 
paint or other surface coatings, without a high-efficiency particulate air 
(HEPA) local exhaust control and without a shroud or containment system 
that allows no visible dust or release of air to occur outside the shroud or 
containment system;
(c)
Abrasive blasting, water blasting, or sandblasting without HEPA local 
exhaust control or an effective containment system;
(d)
Heat guns operating at or above eleven hundred degrees Fahrenheit 
(1100°F) or charring the paint;
(e)
Dry sanding or dry scraping, except:
(1)
Dry scraping within one foot (1 ft.) of electrical outlets; 
(2)
Dry scraping in conjunction with heat guns operating below eleven 
hundred degrees Fahrenheit (1100°F); or 
(3)
Dry scraping when treating defective paint spots totaling no more 
than two square feet (2 sq. ft) in any one interior room or space;
(f)
Methylene chloride;
(g)
Stripping paint in a poorly ventilated space using a volatile stripper that is 
a hazardous substance as defined in 16 CFR § 1500.3, or any chemical 
that is a physical hazard or a health hazard; and
(h)
Scraping, sanding, drilling into, cutting, or otherwise disturbing more than 
two square feet (2 sq. ft.) of paint in or on a residential property or a child 
occupied facility built before 1978 without the use of appropriate 
containment measures.
3304.2
No individual, firm or business entity shall apply paint with a lead content of more than 0.009 percent (0.009%), in accordance with 16 CFR § 1303.1.

SOURCE: Final Rulemaking published at 60 DCR 10909 (July 26, 2013).

