District of Columbia Municipal Regulations


606
FACILITY MAINTENANCE ─ TOILET FACILITIES (RESTROOMS), SHOWER FACILITIES, DRESSING ROOMS, HANDWASHING SINKS, ACCESS, AND PROHIBITIONS*
606.1
Each aquatic facility’s plumbing systems, including but not limited to toilet facilities (restrooms), shower facilities, and handwashing sinks shall be maintained in good repair at all times. 

606.2
Each licensee shall provide sufficient toilet facilities (restrooms) that are:

(a)
Kept in clean and sanitary conditions, free of solid waste, and litter; and

(b)
Enclosed with tight-fitting, self-closing doors or locking doors.

606.3
Toilet facility (restroom) doors shall be kept closed except during cleaning and maintenance operations.  

606.4
At no time shall consumers or staff enter toilet facilities (restrooms), shower facilities, or dressing rooms during routine cleaning or maintenance emergency.  

606.5
Each handwashing sink and shower facility shall be conveniently equipped with soap dispensers with either liquid or powdered soap. The dispensing unit shall be made of metal or plastic, glass materials are prohibited. 

606.6
Liquid or powder soap dispensers shall be provided in each toilet facility   (restroom) and shower facility. Reusable cake soap is prohibited. 

606.7
Mirrors shall be shatter resistant, where provided.

606.8
Baby-changing tables shall be provided in toilet facilities (restrooms) having two (2) or more toilet stalls. 

606.9
A hose bibb with vacuum breaker shall be provided in or within fifty feet (50 ft.) of each toilet facility (restroom) to allow for ease of cleaning.

606.10
Toilet paper holder, a supply of toilet tissue, and a waste receptacle shall be provided in each stall of a multiple-stall toilet room, and in every single-stall toilet room. A covered waste receptacle for feminine hygienic products shall be provided in each toilet stall designated for female staff and/or bathers.

606.11
Feminine hygiene products shall be supplied in dispensing units installed in toilet facilities (restrooms) and shower areas designated for female staff and/or bathers.

SOURCE: Final Rulemaking published at 64 DCR 5359 (June 9, 2017).
	
	Aquatic Facilities Regulations: 
Swimming Pools, Spa Pools, And Saunas
25-C DCMR § 606
	

	
	
	



