District of Columbia Municipal Regulations


10701
QUALITY SYSTEM


10701.1
Each manufacturer shall establish and maintain a quality system that is appropriate for the specific medical device(s) designed or manufactured, and that meets the requirements of this chapter.


 SOURCE: Final Rulemaking published at 60 DCR 10252 (July 12, 2013).
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