District of Columbia Municipal Regulations


1811
WELL CONSTRUCTION REQUIREMENTS: RELOCATION DURING CONSTRUCTION

1811.1
Except as set forth in § 1811.2, a well may be relocated during construction for the avoidance of utility lines, building footings, or other sub-surface obstructions provided that:

(a)
The well is not relocated more than ten feet (10 ft.) from the approved and permitted location identified in the well construction building permit application;

(b)
The new well location meets the requirements of this chapter;

(c)
The new well location is situated on the same lot and square number listed on the well construction building permit application;

(d)
The unsuccessful well, cased or uncased, is abandoned in accordance with the requirements of §§ 1830 and 1831 of this chapter; and

(e)
The Department has not prohibited well relocation in the approved well construction work plan.

1811.2
A closed-loop ground source heat pump well shall not be relocated from the position shown on the well construction building permit and the Department-approved well construction work plan, without written approval by the Department.
Source: Final Rulemaking published at 63 DCR 13424 (October 28, 2016).

	
	Water and Sanitation
21 DCMR § 1811

	

	
	
	



