District of Columbia Municipal Regulations


1808
WELL DRILLERS IN THE DISTRICT

1808.1
Except in accordance with §§ 1808.3 and 1808.4, no person shall construct, maintain, or abandon a well within the District unless that person is a licensed well driller and possesses a current Department of Consumer and Regulatory Affairs business license.

1808.2
A well owner shall ensure the construction, maintenance, and abandonment of a well is performed under the direct supervision of a licensed well driller.

1808.3
A licensed well driller shall not be required for the construction of a well using hand operated or hand driven tools, including hand-augers, soil probes, and hand shovels.

1808.4
A licensed well driller shall not be required for the maintenance of a well, provided that the maintenance does not require the application of chemical treatment, the maintenance of an installed pump, or a material change in the original permitted design, specification, or construction of the well.
Source: Final Rulemaking published at 63 DCR 13424 (October 28, 2016).

	
	Water and Sanitation
21 DCMR § 1808

	

	
	
	



