1518
FUNCTIONALITY ─ BEVERAGE TUBING, SEPARATION  

1518.1
Except for cold plates that are constructed integrally with an ice storage bin, beverage tubing and cold-plate beverage cooling devices shall not be installed in contact with stored ice. 

SOURCE: Final Rulemaking published at 50 DCR 4394 (June 6, 2003); as amended by Final Rulemaking published at 59 DCR 13690 (November 30, 2012).
