1519
FUNCTIONALITY ─ ICE UNITS, SEPARATION OF DRAINS  

1519.1  
Liquid waste drain lines shall not pass through an ice machine or ice storage bin.  

SOURCE: Final Rulemaking published at 50 DCR 4394 (June 6, 2003); as amended by Final Rulemaking published at 59 DCR 13690 (November 30, 2012).
