2513
OPERATION AND MAINTENANCE ─ TANK, PUMP, AND HOSES, DEDICATION  

2513.1
Except as provided in § 2513.2, a water tank, pump, and hoses used for conveying drinking water shall be used for no other purpose. P  

2513.2
Water tanks, pumps, and hoses approved for liquid foods may be used for conveying drinking water if they are cleaned and sanitized before they are used to convey water.  

SOURCE: Final Rulemaking published at 50 DCR 4394 (June 6, 2003); as amended by Final Rulemaking published at 59 DCR 13690 (November 30, 2012).
