2512
OPERATION AND MAINTENANCE ─ PROTECTING INLET, OUTLET, AND HOSE FITTING  

2512.1
If not in use, a water tank and hose inlet and outlet fitting shall be protected using a cover or device as specified in § 2508.  

SOURCE: Final Rulemaking published at 50 DCR 4394 (June 6, 2003); as amended by Final Rulemaking published at 59 DCR 13690 (November 30, 2012).
